## Verified noncommunicating units
The inclusion of any products on this compatible equipment list does not constitute an endorsement or guarantee of performance by the Center for Energy and Environment (CEE), the MN ASHP Collaborative, or any participating utilities. CEE makes no representations or warranties, express or implied, regarding the quality, performance, suitability, or compliance of the listed products for any particular purpose. Product suppliers and installers are solely responsible for determining the suitability of these products for their specific needs and applications. CEE shall not be held liable for any issues, damages, or failures related to the use or performance of any products included on this list.
Last updated: 4/14/2025
Manufacturer/Brand | Model family # (no tonnages or other information needed if control method is consistent w/in family) | Compressor Type | Outdoor unit fan type (vertical / horizontal) | Ducted & mixed | Non-ducted (ductless, minisplit) | Can be wired to interrupt partial or full line voltate power? (120V or 240V) | Compatible with third party controller? (if yes, please see separate controls list) | Link to installation document or video | Notes
Daikin | DZ4SQ | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.
Daikin | DZ4SE | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.
Daikin | DZ5SE | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.
Daikin | DZ7TC | Two-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.
Amana | ASZN4 | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.
Amana | ASZH4 | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.
Amana | ASZH5 | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.
Amana | ASZC7 | Two-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.
Goodman | GSZB4 | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.
Goodman | GSZM4 | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.
Goodman | GSZH5 | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.
Goodman | GSZC7 | Two-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.
Amana | ALZS4B | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.
Amana | ALZS4N | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.
Amana | ALZS5B | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.
Amana | ALZT7CA | Two-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.
Daikin | DH4SE | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.
Daikin | DH4SQ | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.
Daikin | DH5SE | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.
Daikin | DH7TC | Two-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.
Goodman | GLZS4B | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.
Goodman | GLZS4M | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.
Goodman | GLZS5B | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.
Goodman | GLZT7C | Two-stage | Vertical | Ducted | N/A | Yes | Yes | Wiring Guides | Work with your utility provider for instructions specific to load management receivers specific to that utility.